## Sheet1
| ORG A | ORG B | ORG C
Who is your system manufactured by? | BTS Bioengineering | Motion Capture Cameras, PC – Vicon Nexus 1.7 Vicon ¦ Award Winning Motion Capture Systems; Force Plates – AMTI Force and Motion (OPT464508 & BP6001200) AMTI – AMTI designs and manufactures the industry standards in force measurement devices, orthopedic implant testing machines, and other specialty instruments.; Pedobarograph – Tekscan HR Mat ver 6.4 Pedobarography Systems for Plantar Pressure Measurement ¦ Tekscan; Electromyography (wired) – Motion Lab Systems MA-300-28 Motion Lab Systems Inc (motion-labs.com); Video Cameras – Sony HDV 1080i, not sure from where | BTS Engineering
Are you pleased with your system? | No, the equipment appears accurate, but it is a closed system and only works with BTS equipment. The programming is different from what most engineers are familiar with. Models are limited and software is not user friendly and has many glitches | It has met our needs, however, most of it is at least 11 years old. We are in the process of trying to upgrade some components. I am in discussion with Vicon to see what is possible. We are trying to repair/update first instead of replace. I imagine it would be easier to deal with one vendor versus all of the vendors we have… it seems like BTS Engineering offers more of a one stop shop | For the most part, we have been pleased with the overall function/preformance of the system itself.
How available/helpful is customer service and technical support? | In 4 years we are waiting for them to hire their 4th engineer. They seem very dependent on Italy for support even when the engineer is working with them for 2 years. They have 1 person for all labs in the US which is simply inadequate ... | As far as I know, we have had no issues, and we are repeat customers to Vicon (previous system was also Vicon). Tech support from Motion Lab Systems (EMG) has always been very prompt. We have rarely contacted VICON for service issues since we have used VICON. We have not contacted AMTI in at least a decade so do not know current response to tech requests. | This has been challenging since they are based in Italy and do not have full-time US based support personnel. We have to coordinate around their time and recently had to troubleshoot via messaging, which was challenging. We have a current issue with 2 of our force plates being non-functional for over a month now.
Has your equipment been reliable? | The camera equipment is accurate in testing The programing is a provlem. Lots of crashes. EMG sensors do spontaneously turn off during testing. I can use high definition video acquisition with motion capture without increasing crashes | Yes, within reason. Our main PC and video cameras are failing faster than other equipment, however, I’m not surprised based on the age of the equipment. The VICON hardware and AMTI force plates have been outstanding. The EMG system has had some issues over time but response time has been excellent. | For the most part, yes. We have had a few system crashes and needed software updates. Recently, we had multiple fuses blow in the main control box and now we have 2 non-functioning foot plates and don't have a timeline on how long before we can get replacements.
Do you have any specific complaints or limitations with your system/vendor? | Yes (Above) | As mentioned, we have multiple vendors, which is probably not ideal. Our equipment is also old, I imagine there is superior equipment available now (Vicon does offer the latest and greatest on their website, it appears competitive).o Vicon - For a quick response from sales, go to ‘build my system’, choose a system, then click ‘save/quote’. o EMG – current system is wired and provides excellent quality EMG data (not always seen in wireless systems), we do data collection with gait only but could be used in other tasks | Being based in Italy w/out US support has been a challenge.
How many cameras, force plates, etc. are utilized in the lab? | 8 Cameras 4 force plates,8 sEMG. | Motion Capture: 12 cameras; Force Plates: 3 small (OPT464508), 2 large (BP6001200); Pedobarograph: 1 small approx. 2’ by 2’ mat (Tekscan offers a longer mat and multiple configurations are possible); EMG: 12 leads (depending on diagnosis, 8 or all 12 are used); Video Cameras: 3 (front, side, close up front positioned floor level – only front and side are captured in sync with motion data) | 6 force plates, 11 cameras (8 IR, 3 High Def), 8 sEMG
Do you know what your initial $ investment in the system was? | ~150K | $170K (last VICON system), EMG and Foot pressures? | $170K
What are your annual service contract/warranty fees? | ~$3K | None | Recently increased from $6K to $8K/year for annual warranty/service contract
How many 3D gait studies are performed at your facility on an annual basis? | We do ~2 studies a week with 1 PT open 3 days a week and a tech only during the studies. | 163 | We perform (~12) 3D and (350) 2D studies a year.