## Manometry
| ORG A | ORG B | ORG C | ORG D
Does your hospital use manometry as part of PMV assessment? | Sorry, nothing to share right now. | We do not use manometry for PMV at ORG B. We have a GI MD interested in using it for research purposes, but we do not use it in clinical application at this time. | We do not use manometry as part of the PMV assessment. | yes
Which type of manometer is used? |  |  |  | We use both digital and analog- the analog is helpful to visualize the breathing patterns, then we switch to digital to get the exact #.
Can it be used for patients on trach collar, supplemental o2, and on vent? |  |  |  | YES! the manometer is placed between the PMV and the patient in order for it to read transtracheal pressure with the PMV on (the # you want is the # at the end of the exhale). It can be placed directly on the trach for patients just on collar, can be placed in the optiflow or with trach collar providing supplemental O2, and can be placed in the vent circuit
Who is in charge of the manometry portion of the PMV assessment? (SLP, RRT, CRNP?) |  |  |  | SLP + RT
What guidelines do you have in place for the use of manometry with PMV? |  |  |  | We have a Best Practice Guideline that we created with our Global Trach initiative committee (ENTs, Pulms, RT, SLP, PICU, NICU), ive published some example guidelines for Aerodigestive Health in the past, see attached
What is the threshold of transtracheal pressures that you adhere to when determining if a patient is a candidate for PMV? What is generally a good range to go by? |  |  |  | 1. For patients who are NOT on the ventilator, you want their transtracheal pressure /end expiratory pressure to be 10 cm H20 or less, but really if the airway is patent is should be even lower, like 5 cm H20 or less. For patients on the ventilator, we want their TTP/EEP to be consistent with the PEEP, maybe 1-2 cm H20 difference is acceptable, since we do PMV trials on patients with PEEP 10cm H20 or less, we aim for TTP to be 10 cm H20 or less. Anything greater means there is a some resistance on exhalation due to upper airway obstruction. See article for more info
Do you have research-based references for transtracheal pressure ranges that you use? |  |  |  | Brooks, L., Figueroa, J., Edwards, T., Reeder, W., McBrayer, S., & Landry, A. (2020). Passy muir valve tolerance in medically complex infants and children: Are there predictors for success?. The Laryngoscope, 130(11), E632-E639